## Slide 1
Automated and Integrated DER Management
Grid Operations and Planning
Scott Koehler – VP Global Strategy, SGIT
scott.koehler@schneider-electric.com
NY Joint Utilities Grid Operations Engagement Group July 28, 2016

## Slide 2
Network visualization
Realtime and offline
Simulation scenarios
Geographic View
Schematic View
Station View
Situational Awareness
Power forecasting
Historical analysis
Dashboard reporting

## Slide 3: Unified Application Examples
Optimize
Operate
Analyze
Monitor
Plan
Simulate
Load Flow
State Estimation
Fault Analysis
Reliability Analysis
Relay Protection
Energy Losses
Historical Analysis
Fault Management
Switch Management
Crew Management
Under-load Switching
Large Area Restoration
Load Shedding
Telemetry
Alarming
Tagging
Trending
Reporting
Volt/VAR Optimization
Network Reconfig
Near & Short-term Power Forecasting
Demand Response
Distributed Energy
Network Reinforcement
Optimal Device Placement
DG & EV Connections
Medium & Long-term Power Forecasting
Real-time Simulation
Off-line Simulation
What-if Analysis
Historical Playback

## Slide 4: DER in Advanced Operations Applications
Network Reconfiguration
  Objectives – Feeder load balancing, Transformer load balancing, Minimize energy losses, Reliability
Volt/VAR Optimization
  Objectives - Power consumption reduction, Energy losses reduction, Customer voltage improvement, Medium voltage improvement, Power factor improvement, Minimized operations cost
FLISR and Large Area Restoration
  Planned and unplanned switching operations
Adaptive Relay Protection
  Protection Relays – Overcurrent, Distance, Differential, Reclosers and Fuses
  Modes – Operation, Sensitivity, Coordination and Settings
Distributed Energy Resources Management
  Modeling, monitoring and optimized dispatch of DER
Network Planning
  Applications – DER Connections, Power Forecasting, Network Reinforcement, Network Automation, Capacitor and Voltage Regulator Placement

## Slide 5
Cost = $620,000
Cost = 0
Overload problem
Cost = $250,000
S4.2 Reconfiguration & Load Shed
Cost = $1,300,000
Cost = $1,400,000
Cost = 0
S4.4 Energy Storage
No problem
S1 - State DGmaxLmax
No problem
S3 - State DGmaxLmin
S4 - State DGminLmax
S2 - State DGminLmin
S3.1 Volt/VAR Optimization
Cost = $50,000
Voltage problem
S4.3 Volt/VAR/Watt Optimization
S4.1 Conductor Reinforcement
DER Operations Planning Analysis

## Slide 6
NREL INTEGRATE Project Dispatch of traditional and new grid edge devices
Integrated Network
Testbed for Energy
Grid Research
and Technology
Experimentation
Schematic view with resource grouping
Current Use Cases
Over voltage
Under voltage
Reverse power flow
Excessive load
VAR support
Future Use Cases
Phantom load
Voltage flicker
Abnormal switching
Voltage hunting
Regulator runaway

## Slide 7: Operations and Demand Response Evolution of Demand Management
Peak load events
  Fast-acting DR switching scenarios
  DR coordinated with utility operations
Restoration events
  Planned and unplanned outages
  Cold load pickup
    Heat resistive loads
    Water heaters
    Pre-cooling houses
  Isolation switching
    Reduce load in targeted areas
Architecture examples
  Utility direct load control (i.e. SCADA comms)
  Integration with utility DRMS
  Integration with 3rd party DRMS solutions
Integration examples
  Maintain DR customer list/groups
  Communicate when DR events are occurring
  M&V reporting of demand response events
  DRMS sharing DR forecasts (contract limitations)

## Slide 8: Operations and DER/DR Value Chain Control Center to Customer
C&I
Aggregated
SGIT Platform
-Signaling
-Real-time feedback
-Load status
-Price conveyance
ISO
Aggregated DER/DR
-DR portfolio management
-Residential event management
-Customer interaction tracking
-Rules-based control engine -Customer settlement & M&V
-Coordinate disparate systems
-Capacity forecasting
-Optimized program utilization
-Machine-learning algorithms
Control Center
-Situational awareness
-Network modeling & analysis
-Load & generation forecasting
-Operational dispatch of DR & DER
-Realtime & historical reporting of operational performance
-Coordination with VVO & FLISR
-Management of work orders issued to the field
-Grid connectivity via open standards
-Facility automation for DR
-Grid-optimized facilities & processes
-DR strategy development
Commercial & Industrial
Residential
C&I DER/DR
-C&I event management
-Load profiling
-Energy reporting and analysis
-Bill estimation and scenario modeling
-Realtime pricing programs
-AutoDR signaling via open standards
-Signaling, settlement, reporting
-Operational energy management
-Benchmarking, performance, planning
Residential
$
$

## Slide 9: Managing Microgrids Support for varying microgrids sizes and customer types
MGC
DSO
ADMS with DERMS
“Central” Microgrid Control
-Network modeling & analysis
-Situational awareness
-Load & generation forecasting
-Operational dispatch
-DER & DR events
-Coordinated with VVO, FLISR, Relaying
-Realtime & historical reporting
-Management of field work
-Small microgrids (i.e. <10MW)
-C&I building microgrids
-Customer owned & managed microgrids
-Optimization of DER for C&I sites
-Automatic, tailored for site managers and microgrid managers
-Economic dispatch and predictive analysis
-Provide flexibility as an aggregation layer of prosumer sites
-Large microgrids (i.e. >10MW)
-Utility owned & managed microgrids
-Automatic generation control, economic dispatch, unit commitment, interchange transaction scheduler, load and generation forecasting, load shedding
DRMS
-C&I and residential events
-Portfolio management
-Load profiling and capacity forecasting
-Optimized program utilization
-Price signaling
-Event reporting
-Customer interaction tracking
-Customer settlement & M&V
-Grid connectivity via open standards
-Grid-optimized facilities & processes
-Operational energy management
“Local” Microgrid Control

## Slide 10: Rich and Meaningful Customer Engagement
Engaging and actionable visualization technologies
  Enables customers to be active participants in new energy economy
Automated and responsive facilities with customers in control
  Smart thermostats, building automation systems, prosumer technologies
Targeted demand response
  Limit customer exposure to unnecessary events
Benefits
  Improved customer satisfaction scores and relationships
  More accurate and effective load management programs
  Enables service model for “utility of the future”
“Utilities will move away from the traditional, vertically integrated utility model towards a more distributed, service-based model.”