## Slide 1: Distribution System Planning Engagement Group
August 11, 2016
Presentation material does not represent the views of the Joint Utilities Engagement Group as the group is still in discussion on these topics. Please do not redistribute this deck.

## Slide 2: Overall Engagement Group Purpose & Objectives
Purpose
The Distribution System Planning Stakeholder Engagement Group (EG) is an open forum for stakeholders who are actively engaged in the REV process and the Distributed System Implementation Plan (DSIP) filings to provide input to, and exchange ideas with, the Joint Utilities of New York (JU) on topics related to distribution system planning as identified by the Joint Utilities Stakeholder Advisory Group (AG).
Objectives
The AG will advise the JU on the sequence and priorities of topics that Engagement Groups should discuss.
The AG will also provide input on Engagement Group members, discussion scope, and any output documents that would advance greater shared understanding.
The Engagement Groups will hold discussions on identified topics in order to achieve greater shared understanding of issues covered in the DSIP filings, and to build toward common ground through iterative discussion and feedback.

## Slide 3: Distribution System Planning Engagement Group Charter (updated draft 05/23/2016)
Hosting Capacity
Discuss methodological approaches and data inputs for determining hosting capacity, and which are appropriate for which systems in New York.
  Describe how these answers differ for radial and network systems.
  Discuss the potential evolution of methodology in terms of modeling and data requirements, the outputs that can be derived from the analysis, and the uses of those outputs.
Review different models and approaches to calculate and publish hosting capacity
Discuss potential solutions to increasing hosting capacity (e.g. storage)
Develop timeline to implement.
Suitability Criteria for Non-Wires Alternatives
Determine a set of appropriate criteria for project applicability including risk and design standards
Discuss which types of needs (examples: load relief, reliability) can best be met through NWA solutions, and which may present less opportunity for DER-led solutions.
  Understand the what and why of grid needs
  Describe how these factors, project characteristics and timelines to completion affect NWA suitability.
Explore the dimensions of projects, including traditional and alternative cost and fit parameters, and whether there are threshold levels that indicate NWA suitability.
Purpose: Explore common ground in approaches regarding the evolution in planning the distribution system in New York as Distributed Energy Resource (DER) penetration increases and as the market evolves, in order meet customers’ needs and public policy goals. Will include a uniform methodology for calculating hosting capacity and to increase hosting capability, a move toward probabilistic planning, a plan for optimization improvements that will result in a more efficient interconnection process.
Topics and Scope: Suitability Criteria for Non-Wires Alternatives (NWAs); Hosting Capacity

## Slide 4: Engagement Group Ground Rules*
All stakeholder engagement (Advisory Group and Engagement Group) meetings, webinars and information exchange are designed solely to provide an open forum or means for the expression of various points of view in compliance with antitrust laws.
Under no circumstances shall stakeholder engagement activities be used as a means for competing companies to reach any understanding, expressed or implied, which tends to restrict competition, or in any way, to impair the ability of participating members to exercise independent business judgment regarding matters affecting competition or regulatory positions.
Proprietary information shall not be disclosed by any participant during any stakeholder engagement meeting or its subgroups. In addition, no information of a secret or proprietary nature shall be made available to stakeholder engagement members.
All proprietary information which may nonetheless be publicly disclosed by any participant during any stakeholder engagement meeting or its subgroups shall be deemed to have been disclosed on a non-confidential basis, without any restrictions on use by anyone, except that no valid copyright or patent right shall be deemed to have been waived by such disclosure.
AG & EG discussions will be open forums without attribution and no public documents by the AG or EG will be produced unless publication is agreed upon by the group.
*Ground Rules adapted from the JU Advisory Group

## Slide 5: Agenda
Time | Topic
9:00 – 9:15 | Introductions - Purpose & Objectives - Ground Rules
9:15 – 9:45 | Presentations
9:45 – 10:30 | Discussion
10:30-10:45 | Break
10:45-11:50 | Discussion
11:50 – 12:00 | Summary & Next Steps

## Slide 6: Schedule (subject to revision)
7/11
7/18
7/25
8/1
8/15
Advisory Group
Hosting Capacity
7/14 Initial Meeting
7/21 Webinar
7/28
Face to Face
Albany
8/11
Final Face-to-Face
7/12
Distribution System Planning
8/4
Phone / Webinar
Webinar 7/27 on NWA Suitability and System Data
8/18
Stakeholder Engagement
8/8
8/10
Invitation-only
Roundtable 7/29
9/12
9/13
Stakeholder Engagement

## Slide 7: What is Hosting Capacity and Why is it So Important?
Definition:
  Hosting Capacity is the amount of DER that can be accommodated without adversely impacting power quality or reliability under current configurations and without requiring infrastructure upgrades.
Hosting Capacity is
  Location dependent
  Feeder-specific
  Time-varying
Hosting capacity considers DER interconnection without allowing
  Voltage/flicker violations
  Misoperation of protection devices
  Thermal overloads
  Decreased safety/reliability/power quality
Hosting capacity evaluations require precise models of entire distribution system
Hosting Capacity can be used to inform utility interconnection processes and to support DG developer understanding of more favorable locations for interconnection
A feeder’s hosting capacity is not a single value, but a range of values

## Slide 8
Presentation: Increasing Hosting Capacity

## Slide 9: Increasing Hosting Capacity
Presentations on hosting capacity
    Advanced Microgrid Solutions
    Borrego Solar
    Enbala
    EPRI
    IREC
    NY-BEST
    Smarter Grid Solutions

## Slide 10
Hosting Capacity Discussion

## Slide 11: Hosting Capacity Themes
Continue to develop interconnection process (out of scope for Distribution Planning)
Continue to improve tools to communicate hosting capacity
Expand capabilities to increase hosting capacity as experience is gained and technology evolves
Develop timeline and roadmap

## Slide 12: Hosting Capacity Implementation Roadmap
Stage 1 – Distribution Indicators
Stage 2 – Hosting Capacity Evaluations
Stage 3 – Advanced Hosting Capacity Evaluations
Stage 4 – Fully Integrated DER Value Assessments
Increasing effectiveness, complexity, and data requirements
Increase hosting capacity
*Efforts to increase hosting capacity completed in parallel with Hosting Capacity Evaluations

## Slide 13: Hosting Capacity Stakeholder Discussion
Develop an understanding of:
Who will utilize hosting capacity information and how the information will be applied
  For planning
  For facilitating construction of DERs
What hosting capacity data is needed
  Inputs: Utility data – metering data, asset information, etc.
  Outputs: Data and format to be published for developers
Near term vs. longer term requirements (Roadmap)
How often information requires updating
Considerations for increasing hosting capacity
  How to consider storage systems
  How do we use storage in a hosting capacity
  How storage is treated
  Other solutions

## Slide 14: Hosting Capacity – What We’ve Heard
Top priorities to focus on in the immediate term
  Identify the outputs that are required and how they will be used
  Hosting Capacity as a development tool (Maps)
  Increasing hosting capacity through the System Planning process
  Hosting Capacity’s relationship with the Interconnection process and how that impacts the Hosting Capacity roadmap
  Identify a balance between time, costs, and accuracy of hosting capacity assessment
Additional considerations
  Using hosting capacity as tool to identify where upgrades are needed (constrained zones)
    Consider innovative solutions to increase Hosting Capacity including smart inverters, storage, analytics, and bilateral arrangements vs. traditional upgrades
  Improve granularity and accuracy of the Hosting Capacity maps
  Understand what data is going to be shared regardless of methodology
    Utilities can point to what data points were the limiting criteria (violations) that were limiting Hosting Capacity
  Full integration into the interconnection process

## Slide 15: Hosting Capacity – What We’ve Heard
Timeline and Roadmap
Support for a evolutionary roadmap with early action to provide value; doesn’t need to be perfect
Clarify steps from the current state to a future state
Steps toward moving from the current state to future state should be clear
Don’t lose sight of the goal, in terms of both timeline and resources to implement
Ability to evolve to include additional technologies beyond solar PV
Distribution Indicators
Utilities currently provide ‘red zone maps’ to help developers interconnect
There may be opportunity to improve the consistency of these maps across utilities prior to Hosting Capacity development
Hosting Capacity
Common approach that leverages existing work
Understanding best practices, both national and international
Searchable maps are useful – both load based and generation based
A Hosting Capacity map is an important complement to a ‘pre-application report’
Increasing Hosting Capacity
There are technologies and processes that the group has reviewed that can help increase hosting capacity
Policy goals are supported by increasing hosting capacity

## Slide 16: Industry Status – Distribution Modeling Still Work to be Done
Illustration of Where Utilities Reside on the “Spectrum” of Distribution System Modeling
Distribution Modeling Guidelines: Recommendations for System and Asset Modeling for Distributed Energy Resource Assessments, EPRI, Palo Alto, CA: 2015. 3002006115.
EPRI Experience
Significant variance regarding use of distribution models throughout US and abroad

## Slide 17: Streamlined Implementation of Hosting Capacity Assessments
Method Overview
Solve base load flow/short-circuit cases
Increase DER at each location on feeder
Apply advanced algorithms to calculate hosting capacity at each location
Findings
Close approximation of DER impact
  Less time/data intensive
  Not a replacement for detailed studies
Full range of possible DER scenarios can be considered
  All locations (three-phase and single-phase), feeder configurations, DER technologies and types (centralized vs distributed)
Easily replicable across entire system
  Typically 3-5 minutes per feeder when automated
Integration of Hosting Capacity Analysis into Distribution Planning Tools. EPRI, Palo Alto, CA: 2016. 3002005793

## Slide 18
Next Steps

## Slide 19: Stakeholder Engagement Conference – August 18th
WHEN: Thursday, August 18th 9:00a – 4:00p EDT
WHAT: Joint Utilities of New York Stakeholder Engagement Conference
RSVP: Please register here or through jointutilitiesofny.org
Agenda for August 18th
9:00 – 9:15 Introductions
9:15 – 10:00 Granular Pricing & Q/A*
10:00 – 11:30 Customer Data & Q/A*
11:30 – 12:30 Lunch Break
12:30 – 2:00 Monitoring & Control & Q/A*
2:00 – 3:30 Hosting Capacity & Q/A*
3:30 – 4:00 Summary & Next Steps
*The Q/A portion of the conference will address the questions received in advance plus those received during the session. If you have questions to pose now or additional questions that are not covered during the conference, please email info@jointutilitiesofny.org.

## Slide 20
Appendix & Reference Materials

## Slide 21: Engagement Process Overview
*Initial DSIP engagements dates based on individual JU workshop schedule during this period. **ITWG beginning in March, EG begins in May.
*** Stakeholder technical conferences to engage a wider set of participants to inform technical discussions and share Engagement Group results, as needed and in consultation with the Advisory Group
Source: Plan for stakeholder engagement process as reflected in May 5th DSIP filing
Stakeholder Engagement Schedule
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Distribution Planning**
2017
Grid Operations
Market Operations
Advisory Group Mtgs
Supplemental DSIP
Engagement Groups
DSIP Final Guidance
Initial DSIP Filings
Supplemental DSIP Filing
Stakeholder
Webinars/Conferences
Jan 2016
Initial DSIP
Stakeholder Engagement*

## Slide 22: Supplemental DSIP Topics
Distribution System
Planning
Topics
Engagement Groups
Probabilistic
Planning
Load Flow
Analysis
Interconnection Technical Working Group
Grid Operations
Market Operations
Load and DER
Forecasting
Hosting
Capacity
Interconnection
ISO/DSP Roles, Responsibilities, Interaction
Cyber
Security
Monitoring &
Control
Electric Vehicle Supply Equipment
DER Sourcing - Procurement
Customer Data
Granular
Pricing
Currently scheduled Engagement Group topics
Currently scheduled Advisory Group topics
NWA
Suitability
System Data

## Slide 23: Scope of Hosting Capacity
Interconnection Policy Working Group (IPWG) and Ombudsman Group
“Near Term Policy and Process Issues”
Interconnection Technical Working Group (ITWG)
“Near-Term Technical Issues”
Hosting Capacity Supplemental DSIP
“Hosting Capacity: Definition, Use Cases, and Expansion”
Queue management
Dispute resolution
Cost/cost allocations
Process issues within the Standardized Interconnection Requirements (SIR)
Common definition and roadmap
Methodologies to increase hosting capacity
Developer and utility use cases
Transparency and consistency related to utility system upgrades
Technical whitepapers and matrix
Technical issues within the Standardized Interconnection Requirements (SIR)
In-depth Engineering studies

## Slide 24: Distribution System Planning Topic Descriptions
Interconnection
Supplemental DSIPs should include a proposed interconnection plan, developed through stakeholder engagement, as well as a timeline to implement the proposed improvements. Allow for the efficient expansion of DERs while maintaining safe operations. Requires a process for interconnecting DERs through an online portal in the Initial DSIPs. The process should include the status of current efforts, future plans, and how this function will be integrated into planning process improvements, and monitored to measure the effectiveness of the interconnection process, as well as plans for optimization of planning by modeling system impacts of DERs, risk assessments, and resiliency.
Hosting Capacity
Hosting capacity is the amount of DER that can be accommodated without adversely impacting power quality or reliability under existing control configurations and without requiring infrastructure upgrades. Discussions on hosting capacity within the stakeholder engagement group will include a timeline and standard methodology for calculating and improving circuit-level hosting capacity data. The group will also examine the information tools available or can be made available to increase hosting capacity (e.g. storage).
NWA Suitability for BCA
NWA suitability criteria address screening processes to identify projects where DER solutions should be considered as potential alternatives to traditional grid infrastructure. The goals of these criteria are to ensure developers get the best projects with the greatest chance for success; provide developers with greater clarity, certainty and long term visibility to the market; and avoid misallocation of time and resources for market participants

## Slide 25: Distribution System Planning Topic Descriptions continued
Demand and Energy Forecasting
In future DSIPs the utilities should assess the accuracy of prior substation and system-wide forecasts as an element of determining if there are inherent biases that may need to be addressed in their forecasting techniques. Forecasts should follow a stochastic, or probabilistic, methodology rather than a deterministic methodology. Ultimately, quality forecasts, with data as granular as possible, which take into account demand-drivers as explanatory variables, will lead to more optimal investment decisions by the utilities and DER providers.
DER Forecasting
Gather information to enhance forecasts, expected performance and penetration, specific expected contribution. Develop a standard process to coordinate information between utility and DER providers.
Load Flow Analysis
As various DER continue to be deployed, the use of new modeling approaches will be necessary to operate in a proficient manner. Develop a process for performing load flow analyses.
Probabilistic Planning Methodology
Forecasts should follow a stochastic, or probabilistic, methodology rather than a deterministic methodology. Move from deterministic to a probabilistic modeling approach.

## Slide 26: Reference Guide
Defining a Roadmap for Successful Implementation of a Hosting Capacity Method for New York State. EPRI, Palo Alto, CA: 2016. 3002008848
http://www.epri.com/abstracts/Pages/ProductAbstract.aspx?ProductId=000000003002008848
Whitepapers and stakeholder presentations located on the website www.jointutilitiesofny.org and includes information from:
  IREC
  Borrego Solar
  CUNY
  NY-BEST
  Advanced Microgrid Solutions
  Smarter Grid Solutions
  Enbala

## Slide 27: Information Guide
For more Information please access the Department of Public Service (DPS) website of the New York State -
http://www3.dps.ny.gov/W/PSCWeb.nsf/All/DCF68EFCA391AD6085257687006F396B?OpenDocument
For more Information on the Red Zone Maps of Joint Utilities of New York, please access the link below from the Department of Public Service (DPS) website of the New York State –
http://www3.dps.ny.gov/W/PSCWeb.nsf/All/6143542BD0775DEC85257FF10056479C?OpenDocument

## Slide 28: Distribution System Planning – Participants (1)
Contact |  | Organization | Email
Irina Rodina | Acadia Center |  | irodina@acadiacenter.org
Mike Jackson | Advanced Microgrid Solutions |  | mikej@advmicrogrid.com
Michelle Isenhouer | Booz Allen Hamilton |  | IsenhouerHanlin_Michelle@bah.com
Tom Bucher | Booz Allen Hamilton |  | Bucher_Thomas@bah.com
Michael Conway | Borrego Solar Systems, Inc. |  | mconway@borregosolar.com
Ben Mandel | City of NY |  | bmandel@cityhall.nyc.gov
Anthony Fiore | City of NY |  | afiore@cityhall.nyc.gov
Tom Mimnagh | Con Edison/O&R |  | MIMNAGHT@coned.com
Isaac Liberman | Cypress Creek Renewables |  | liberman@ccrenew.com
Chris Kallaher | Direct Energy |  | chris.kallaher@directenergy.com
Ronny Sandoval | Environmental Defense Fund |  | rsandoval@edf.org
Linda Richardson | Enbala |  | lrichardson@enbala.com
Laura Kier | Energy Hub |  | kier@energyhub.net
Greg Geller | EnerNoc |  | ggeller@enernoc.com
Jason Taylor | EPRI |  | jtaylor@epri.com
Chris Wentlent | Exelon |  | Christopher.Wentlent@constellation.com
Laura Manz | ICF International |  | Laura.Manz@icfi.com

## Slide 29: Distribution System Planning – Participants (2)
Contact | Organization | Email
Sky Stanfield | IREC | Gibbons@smwlaw.com
Miles Farmer | NRDC | mfarmer@nrdc.org
Kelli Joseph, Ph.D | NRG Energy | Kelli.Joseph@nrg.com
Peter Fuller | NRG Energy | Peter.Fuller@nrg.com
Bill Acker | NY-BEST | acker@ny-best.org
Matthew Darcangelo | NYISO | mdarcangelo@nyiso.com
Chuck Hermann | NYPA | Charles.Hermann@nypa.gov
Dave Crudele | NYSERDA | Dave.Crudele@nyserda.ny.gov
Tammy Mitchell | NY Dept. of Public Service | tammy.mitchell@dps.ny.gov
Jason Pause | NY Dept. of Public Service | Jason.Pause@dps.ny.gov
Mike Worden | NY Dept. of Public Service | Mike.Worden@dps.ny.gov
Joshua Wong | Opus One Solutions | jwong@opusonesolutions.com
Roni Epstein | Pace Energy & Climate Center | repstein@law.pace.edu
Scott Higgins | Schneider Electric | scott.higgins@schneider-electric.com
Bob Currie | Smarter Grid Solutions | rcurrie@smartgridsolutions.com
Carlos Gonzalez | SolarCity | cgonzalez3@solarcity.com
Doug Ellman | SolarCity | dellman@solarcity.com

## Slide 30: Advisory Group Members
 | Contact | Organization | Title
NY DPS | Tammy Mitchell | Dept. of Public Service | Chief, Electric Distribution Systems
DER Provider | Carlos Gonzalez | SolarCity | Commercial Installer
DER Provider | Pete Fuller | NRG | VP, Market & Regulatory Affairs
DER Provider | Bill Acker | NY-BEST | Executive Director
DER Provider | Greg Geller | EnerNoc | Director, Regulatory & Government Affairs
Large Customer | Mike Mager | Couch White, LLP | Partner
Large Customer | Anthony Fiore | City of NY | Director, Office of Energy
Small Customers & Consumer Groups | Erin Hogan | Dept. of State Utility Intervention Unit (UIU) | Senior Project Manager at NYSERDA
State/Public power | Maryam Sharif | NYPA | Program Manager, Clean Energy Technology
Environmental | Miles Farmer | NRDC | Legal Fellow
Environmental | Rory Christian | EDF | Director, NY Clean Energy
Marketers | Chris Kallaher | Direct Energy | Director, Government & Regulatory Affairs
Wholesale market | Mike DeSocio | NYISO | Senior Manager, Market Design at NYISO
IPPNY | Chris Wentlent | Exelon | VP, Energy Policy
Joint Utilities | Tom Mimnagh | ConEdison | Department Manager
Joint Utilities | Damian Sciano | ConEdison | Director, Distributed Resource Integration
Joint Utilities | John Leana | National Grid | Director, Strategy
Joint Utilities | Lori Cole | Avangrid | Manager, Regulatory & Tariffs
Joint Utilities | John Borchert | Central Hudson | Senior Director of Energy Policy and Transmission Development
Facilitator | Paul De Martini | ICF International | AG Facilitator

## Slide 31
Thank you for joining us!
Please contact info@jointutilitiesofny.org
or
visit our website www.jointutilitiesofny.org for more information