## Slide 1
August 9, 2016
Presentation material does not represent the views of the Joint Utilities Engagement Group as the group is still in discussion on these topics. Please do not redistribute this deck.
Market Operations Engagement Group DER Sourcing - Procurement

## Slide 2: Agenda
Time | Topic
1:00 – 1:15 | Introductions
1:15 – 2:00 | Joint Utilities Presentation
2:00 – 2:15 | Break
2:15 – 3:30 | Stakeholder Presentations
3:30 – 3:45 | Q&A and Discussion
3:45 – 4:00 | Summary & Next Steps

## Slide 3: Engagement Group Ground Rules*
All stakeholder engagement (Advisory Group and Engagement Group) meetings, webinars and information exchange are designed solely to provide an open forum or means for the expression of various points of view in compliance with antitrust laws.
Under no circumstances shall stakeholder engagement activities be used as a means for competing companies to reach any understanding, expressed or implied, which tends to restrict competition, or in any way, to impair the ability of participating members to exercise independent business judgment regarding matters affecting competition or regulatory positions.
Proprietary information shall not be disclosed by any participant during any stakeholder engagement meeting or its subgroups. In addition, no information of a secret or proprietary nature shall be made available to stakeholder engagement members.
All proprietary information which may nonetheless be publicly disclosed by any participant during any stakeholder engagement meeting or its subgroups shall be deemed to have been disclosed on a non-confidential basis, without any restrictions on use by anyone, except that no valid copyright or patent right shall be deemed to have been waived by such disclosure.
AG & EG discussions will be open forums without attribution and no public documents by the AG or EG will be produced unless publication is agreed upon by the group.
*Ground Rules adapted from the JU Advisory Group

## Slide 4: Market Ops - Near term schedule (subject to revision)
7/18
Advisory Group
Customer Data
(Tuesday mornings)
DER Sourcing
(Tuesday afternoons)
Granular Pricing
EVSE
8/8
8/1
7/25
8/15
August 10 NYC
July 26
Albany
Aggregation of Usage Data
August 9
NYC
Additional Data Needs
July 19
(By Phone*)
Review 7/13 Stakeholder Comments
*Additional phone sessions will be held as needed
8/22
July 26
Albany
Dependencies With Other REV and Related Proceedings
August 9
NYC
Potential Refinements to NWA Procurement Approach
8/29
9/5
9/12
August 16
NYC
Current State; Opportunities for Utility Collaboration
Sept. 12 Albany
Forecasting Methodologies
August 30
Albany
Principles for Utility Involvement
September 7 NYC
August 18 NYC: Granular Pricing, Customer Data, Hosting Capacity, Monitoring & Control
Stakeholder Engagement Technical Conferences
September 13 Albany: Cyber Security, ISO/DSP Roles, DER and Demand Forecasting, Load Flow Analysis, Probabilistic Planning
July 27 (webinar): NWA Suitability, System Data
August 18 NYC (conference)
August 23
(By Phone*)
TBD
Sept. 6
(By Phone*)
TBD

## Slide 5: DER Sourcing Topic Description
  DER Sourcing: market actions taken by the utility to increase the amount of installed DER on its system. This may be done to address specific system deficiencies (i.e. Non-Wires Alternatives), and/or to secure the environmental or other attributes of DERs. The chief mechanisms for DER Sourcing are Pricing (e.g. Net Energy Metering tariffs, TOU pricing), Programs (e.g. distribution-level Demand Response tariffs) and Procurement (e.g. bilateral contracts, RFPs/RFIs/RFOs).

## Slide 6: Market Operations Charter – DER Sourcing
Purpose: Explore the Joint Utilities' approaches for facilitating market mechanisms that effectively support and encourage the adoption of Distributed Energy Resources while meeting customers’ needs and complying with the DSIP Guidance Order.
Topic & Scope: Distributed Energy Resources (DER) Sourcing
DER Sourcing
DER Sourcing - Describe and discuss dependencies with other REV and REV-related proceedings Share existing NWA plans and challenges/lessons learned Discuss potential refinement of the NWA Procurement approaches to improve efficiency and effectiveness and the potential for common implementation by the Joint Utilities

## Slide 7
Recap of July 26, 2016 EG Session

## Slide 8
Joint Utilities Presentation

## Slide 9: System Data
  The JU will include a base level of System Data in NWA solicitations in order to help developers construct informed bids
  Characterization of the need
    Size (e.g. MW)
    Seasonality
    Temporal profile of need
    Duration of deferral (e.g. 5 years)
  Geographical characterization of need area (e.g. a map)
  Customer characterization

## Slide 10: Pre-Qualification
  Con Edison recently used a bidder pre-qualification for its BQDM Demand Response clock auction to identify a pool of acceptable bidders. Elements of the pre-qualification included:
  Submittal of bidder’s development/implementation plan, including targeted customer types, technologies to be used, and timeline
  Requirement for successful bidders to post initial security once the auction clears, with the balance due prior to the contract start date
  Other requirements include disclosing:
    existing, pending or past adverse rulings, judgments, litigation
    contingent liabilities
    revocations of authority
    administrative, regulatory (State, FERC, SEC, or DOJ, etc.) investigations
    matters relating to financial or operational status arising from sale of load relief products over the past three years

## Slide 11: Value of Pre-Qualification
  Pre-qualification of DER providers may be useful in streamlining the procurement process for certain NWA opportunities
    NWA procurements that involve a structured auction process (e.g. clock auction)
    Routine or short lead time projects
  Pre-qualification helps develop and sustain a pool of qualified suppliers
    Assurance that there will be enough bidders for a specific NWA opportunity to support a competitive solicitation
    A process and a forum for developing and refining standard pre-qualification elements that reflect the needs of the market place as DER procurements evolve over time
  Pre-qualification may not be applicable for every NWA opportunity
    More complex or non-routine NWA opportunities
    Longer lead time projects

## Slide 12: Pre-Qualification Considerations
  The JU is considering the development of a pre-qualification process that will evolve over time. Elements may include:
  Detailed Company Information: key financial, legal and other information
  Description of Commercially-Proven DER:
    Enables bidder to demonstrate that the proposed DER is a commercially-proven technology
  Customer & Technology Experience: description of the types of customers with whom the vendor typically works (e.g. residential, small commercial, etc.) and the technologies deployed
  Deployment Experience: description of previous vendor deployments of the given DER solution as well as experience with deployment in the specific geographic area covered by the NWA opportunity
  Flexibility/Availability of Technology: information that helps the utility determine if the solution proposed meets the need profile
  Timeliness of Deploying the DER: an estimate of the time normally needed to deploy the DER solution upon contract award
  Vendor Security Requirements: credit, collateral (e.g. delivery and performance bonds) and other similar requirements

## Slide 13: Performance Characteristics
  The JU propose to identify the following performance attributes which may be used to develop specific performance requirements for NWA solution proposals
  Availability
    The extent to which a resource is able to provide capacity considering limitations such as call windows, maximum number of hours or events within a given time period, or other known factors which limit the performance of the resource.
  Intermittency
    The degree to which resource output is limited by unpredictable factors such as solar irradiance or wind.
  Dispatch
    The ability of the resource to respond quickly in times of capacity or T&D needs.
  Coincidence
    The resource’s ability to perform when localized, system, or statewide load peaks typically occur.

## Slide 14: Performance Characteristics
  Examples of performance requirements for NWA opportunities (for a load reduction resource solicitation):
  Availability
    Available to reduce load up to the full contract capacity within 20 minutes of a dispatch order
    Delivery months must include at least June, July, August
    Must be able to reduce load during at least 3 consecutive weekdays
    Must be able to deliver dispatched load reduction at least 4 consecutive hours with at least 2 of those hours within the 13:00 – 19:00 EPT time period
  Dispatch
    Maximum number of dispatch requests per day (may be seller bid)
    Maximum dispatch hours per week/month/year

## Slide 15
Q&A - Discussion

## Slide 16
Summary and Next Steps

## Slide 17
Thank you for joining us!
Please contact info@jointutilitiesofny.org
or
visit our website www.jointutilitiesofny.org for more information

## Slide 18
Appendix

## Slide 19: Advisory Group Members
 | Contact | Organization | Title
NY DPS | Tammy Mitchell | Dept. of Public Service | Chief, Electric Distribution Systems
DER Provider | Carlos Gonzalez | SolarCity | Director, Grid Engineering Solutions
DER Provider | Pete Fuller | NRG | VP, Market & Regulatory Affairs
DER Provider | Bill Acker | NY-BEST | Executive Director
DER Provider | Greg Geller | EnerNoc | Director, Regulatory & Government Affairs
Large Customer | Mike Mager | Couch White, LLP | Partner
Large Customer | Anthony Fiore | City of NY | Director, Office of Energy
Small Customers & Consumer Groups | Erin Hogan | Dept. of State Utility Intervention Unit (UIU) | Senior Project Manager at NYSERDA
State/Public power | Maryam Sharif | NYPA | Program Manager, Clean Energy Technology
Environmental | Miles Farmer | NRDC | Legal Fellow
Environmental | Rory Christian | EDF | Director, NY Clean Energy
Marketers | Chris Kallaher | Direct Energy | Director, Government & Regulatory Affairs
Wholesale market | Mike DeSocio | NYISO | Senior Manager, Market Design at NYISO
NYSERDA | John Saintcross | NYSERDA | Assistant Director, Smart Grid Research
IPPNY | Chris Wentlent | Exelon | VP, Energy Policy
Joint Utilities | Tom Mimnagh | ConEdison | Department Manager
Joint Utilities | Damian Sciano | ConEdison | Director, Distributed Resource Integration
Joint Utilities | John Leana | National Grid | Director, Strategy
Joint Utilities | Lori Cole | AVANGRID | Manager, Regulatory & Tariffs
Joint Utilities | John Borchert | Central Hudson | Senior Director of Energy Policy and Transmission Development
Facilitator | Paul De Martini | ICF International | AG Facilitator

## Slide 20: Engagement Process Overview
*Initial DSIP engagements dates based on individual JU workshop schedule during this period. **ITWG beginning in March, EG begins in May.
*** Stakeholder technical conferences to engage a wider set of participants to inform technical discussions and share Engagement Group results, as needed and in consultation with the Advisory Group
Source: Plan for stakeholder engagement process as reflected in May 5th DSIP filing
Stakeholder Engagement Schedule
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Distribution Planning**
2017
Grid Operations
Market Operations
Advisory Group Mtgs
Supplemental DSIP
Engagement Groups
DSIP Final Guidance
Initial DSIP Filings
Supplemental DSIP Filing
Stakeholder
Technical Confs***
Jan 2016
Initial DSIP
Stakeholder Engagement*

## Slide 21: Supplemental DSIP Topics—Based on Final Order
Distribution System
Planning
Topics
Engagement Groups
Probabilistic
Planning
Load Flow
Analysis
NWA
Suitability
Interconnection Technical Working Group
Grid Operations
Market Operations
DER Forecasting
Demand
Forecasting
Hosting
Capacity
Interconnection
ISO/DSP Roles, Responsibilities, Interaction
Cyber
Security
Monitoring &
Control
System Data
Electric Vehicle Supply Equipment
DER Sourcing
- Procurement
Customer Data
Granular
Pricing
Currently scheduled Engagement Group topics
Currently scheduled Advisory Group topics